## GENSETS

## PC-12-09

SUBJECT:	Improperly Adjusted GAC controllers on Volvo Powered Gen Sets

MODELS AFFECTED:	G235 through G575

SYMPTOMS:		              Engine will have hard starting and fast hunting

CAUSE:	GAC Engine Controller improperly adjusted

REMEDY:	 Make adjustments the GAC controller

ACTION:			Adjust the GAC controller with supplied instructions