## GENSETS 60HZ

## PC-12-15

Date 8-31-03

SUBJECT:	                               Voltage Adjustment decals

MODELS AFFECTED:         G20 through G575

For Information Purposes:

Improved voltage adjustment procedures to be added

Physically to machine

22233605 Decal Voltage Adjust Used on: G20 thru G575

Applied near circuit breaker

22202295 Decal Voltage Change Used on:  G20 thru G190

Applied below the Voltage Selector Switch

22191787 Decal Engine Operation Used on:  G235 thru G575

Applied above the Voltage Selector Key Switch.

22194062 Decal Voltage Change Used on:  G235 thru G380

Applied on top of the alternator J-box on the curbside, with the decal facing the door.

22299598 Decal Voltage Change Used on:  G405 thru G500

Applied on top of the alternator J-box on the curbside, with the decal facing the door.

22299606 Decal Voltage Change	Used on:  G575 thru G600

Applied on top of the alternator J-box on the curbside, with the decal facing the door.

ACTION:

Order decals and install as described above, claims for parts only will be accepted till Jan 1 2004